## Dashboard
[ SMARTTEC.DEV · MEAD DATA CENTER · LIVE MODEL — EDIT YELLOW CELLS ON ASSUMPTIONS ]
INVESTOR DASHBOARD
Phase 1A — 8× HGX B200 · 64 GPUs installed, 60 rentable · ~114 kW IT · Mead, Oklahoma
Total CAPEX | 4504711 | Equity required | 900942.2
Y1 gross revenue | 2384910 | Y1 net operating income | 1778010
Y1 operating margin | 74.55% | Reserved rate (base) | 4.5
Flat payback | 2.5336 | Equity payback | 0.82416
Y1 DSCR (7-yr term) | 2.5962 | Y1 DSCR (5-yr stress) | 2.004
Equity MOIC (5-yr) | 3.6714 | Equity IRR (5-yr) | 96.55%
[ HOW TO USE ]
1. Edit blue cells on Assumptions and CAPEX. Everything else recalculates.
2. Debt Option holds the base-case capital structure — it is not optional in this edition.
3. The reserved rate is a TARGET, not a contracted rate. No capacity is under signed contract.
Prepared July 2026 · Blueprint V4 (audited 24 Jul 2026) · no debt term sheet signed · securities counsel review required before external circulation.

## Assumptions
[ SMARTTEC.DEV · MEAD DATA CENTER · MODEL INPUTS ]
ASSUMPTIONS
Blue text on grey = edit these levers. Everything else is a formula. Phase 1A per DC Blueprint V4 (audited 24 Jul 2026).
[ CAPACITY ]
Reserved GPUs | 48 | Billed 24/7/365 regardless of utilisation. Target rate — NOT yet contracted.
On-demand GPUs | 12 | Balance of the 60 rentable GPUs, sold hourly.
Hours per year | 8760 | 24/7/365
On-demand utilisation | 75% | Blueprint V4 base case
[ RATES — YEAR 1 ]
Reserved rate ($/GPU-hr) | 4.5 | Low end of the verified $4.50–$5.50 reserved band. A target, not a signature.
On-demand rate ($/GPU-hr) | 6.25 | At the Jul-2026 independent market median ($6.03 avg / $6.12–6.25 median).
Annual revenue decay | 10% | Whole revenue line declines 10%/yr as newer silicon ships.
[ CAPITAL & TERMINAL ]
Total CAPEX | 4504711 | Linked live from the CAPEX tab.
Residual hardware value @ Y5 | 0 | Deliberately zero. The previous edition assumed $450K.
Debt share of CAPEX | 80% | Senior equipment debt. Balance is equity.
[ ANNUAL OPERATING COSTS ]
Power & cooling | 110000 | 114.4 kW IT full-server draw @ OK ~$0.08/kWh
Fiber — Dobson 100G symmetrical DIA | 96900 | Signed quote: $8,075/mo, 60-month term, install waived
Team — 3 HPC engineers | 360000 | $120K avg, Oklahoma market. Raised from 2 when the build doubled.
Insurance, property tax, software | 40000 | Estimate; includes key-man cover
[ DEBT TERMS ]
Interest rate | 8.5% | Assumed. NO TERM SHEET SIGNED — confirm before relying on this.
Term (years) | 7 | GPU lenders commonly write 3–5 yr paper. See the 5-yr DSCR on Debt Option.

## CAPEX
[ SMARTTEC.DEV · MEAD DATA CENTER ]
CAPEX — PHASE 1A BUILD (BLUEPRINT V4)
Item | Cost | Note
GPU servers — 8× HGX B200 8-GPU (64 GPUs, 60 rentable) | 3160000 | $375K/system + $20K shipping & install each. Formal quote is a Gate-0 item.
InfiniBand fabric — 2× QM9790 NDR, optics, NIC spares | 156440 | Switch carried at $32,500 vs verified $28,443 reseller floor — conservative.
300 TB NVMe all-flash storage | 120000 | Perishable: NAND +70–75% QoQ in Q2-26. Locks at order.
Power — 2× Eaton 93PR 100kW UPS (N+1), transformer, PDUs, z1Power LFP | 227000 | UPS sized for an earlier smaller build — re-sizing against 114.4 kW is a Gate-0 item.
Cooling + fire suppression — 3× 15-ton CRAC, containment | 121000 | 45 tons installed; only 30T with one unit failed, below the 114.4 kW load. Open item.
Racks, PDUs, structured cabling | 36500 | 9× 48U racks, switched 3-phase PDUs
Management network — switch, firewall, OOB | 7700 | Out-of-band management + tenant isolation
Fiber cross-connect + termination | 5500 | Dobson entry
Soft costs — permitting, legal, PM, AURA dashboard | 83000 | Includes $40K AURA monitoring build
Subtotal | 3917140
Contingency % | 15%
Contingency $ | 587571
TOTAL CAPEX | 4504711 | Blueprint V4 total: $4,504,711

## 5-Year Model
[ SMARTTEC.DEV · MEAD DATA CENTER · BASE CASE — RATES MODELED FALLING ]
FIVE-YEAR MODEL
| Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
Reserved rate ($/GPU-hr) — display |  | 4.5 | 4.05 | 3.65 | 3.29 | 2.96
On-demand rate ($/GPU-hr) — display |  | 6.25 | 5.63 | 5.07 | 4.56 | 4.1
Reserved revenue |  | 1892160 | 1702944 | 1532649.6 | 1379384.64 | 1241446.176
On-demand revenue |  | 492750 | 443475 | 399127.5 | 359214.75 | 323293.275
Gross revenue |  | 2384910 | 2146419 | 1931777.1 | 1738599.39 | 1564739.451
Operating costs |  | 606900 | 606900 | 606900 | 606900 | 606900
Net operating income |  | 1778010 | 1539519 | 1324877.1 | 1131699.39 | 957839.451
Cumulative cash |  | 1778010 | 3317529 | 4642406.1 | 5774105.49 | 6731944.941
Equity cash flow (levered) | -900942.2 | 1093157.6146 | 854666.6146 | 640024.7146 | 446847.0046 | 272987.0656
[ RETURN METRICS — LINKED LIVE ]
Flat payback (Y1 NOI vs total CAPEX) | Year 0: 2.5336; Year 1: All-capital basis, before leverage
Equity required | Year 0: 900942.2; Year 1: 20% of CAPEX
Senior debt | Year 0: 3603768.8; Year 1: 80% LTV — no term sheet signed
Levered free cash flow — Year 1 | Year 0: 1093157.6146; Year 1: NOI less annual debt service
Equity payback (levered) | Year 0: 0.82416; Year 1: Highly sensitive to the reserved rate
Equity MOIC (5-yr, incl. residual) | Year 0: 3.6714; Year 1: Residual assumed $0
Equity IRR (5-yr) | Year 0: 96.55%; Year 1: Levered. Distributions rank behind debt service.

## Sensitivity
[ SMARTTEC.DEV · WHERE THE ANCHOR RATE LANDS ]
RATE SENSITIVITY — RESERVED RATE
Reserved rate | Y1 NOI | Flat payback | Y1 DSCR (7-yr) | Revenue ÷ opex
4 | 1567770 | 2.8733 | 2.2892 | 3.5832
4.25 | 1672890 | 2.6928 | 2.4427 | 3.7565
4.5 | 1778010 | 2.5336 | 2.5962 | 3.9297
4.75 | 1883130 | 2.3921 | 2.7497 | 4.1029
5 | 1988250 | 2.2657 | 2.9032 | 4.2761
All 60 rentable GPUs sold in every row (48 reserved at the row rate + 12 on-demand at the market rate, 75% utilised). The reserved rate is the single most sensitive input in this model and none of it is contracted yet.

## Investment Tiers
[ SMARTTEC.DEV · ILLUSTRATIVE PRO-RATA EQUITY ECONOMICS ]
INVESTMENT TIERS
Tier | Investment | Share of equity | Y1 levered dist. | 5-yr distributions | MOIC | IRR
Pod Partner | 125000 | 13.87% | 151668.6662 | 458919.9804 | 3.6714 | 96.55%
Rack Partner | 250000 | 27.75% | 303337.3325 | 917839.9607 | 3.6714 | 96.55%
Core Partner | 450000 | 49.95% | 546007.1984 | 1652111.9293 | 3.6714 | 96.55%
Site Partner | 900942.2 | 100% | 1093157.6146 | 3307683.0138 | 3.6714 | 96.55%
IRR is identical across tiers (pro-rata). Figures are levered — they assume the senior debt on the Debt Option tab and are struck after debt service. Equity distributions rank behind the lender in every period.

## Debt Option
[ SMARTTEC.DEV · SENIOR DEBT — THIS IS THE BASE CASE ]
DEBT + EQUITY STRUCTURE
Senior equipment loan | 3603768.8 | 80% of CAPEX
Interest rate | 8.5% | Assumed — no term sheet signed
Term (years) | 7 | Lenders commonly write 3–5 yr on GPU collateral
Equity check | 900942.2 | Balance of CAPEX
Annual debt service | 684852.3854 | Monthly amortisation × 12 — matches Blueprint V4 ($57,071/mo)
Y1 DSCR | 2.5962 | Covenant floors typically sit at 1.25×
Y1 DSCR — if 5-yr paper | 2.004 | Stress case. Materially tighter.
Equity cash flows | Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
NOI − debt service (+ residual Y5) | -900942.2 | 1093157.6146 | 854666.6146 | 640024.7146 | 446847.0046 | 272987.0656
Y1 equity cash yield | 2.004 Year 0: 121.3%
Equity MOIC (5-yr) | 2.004 Year 0: 3.6714
Equity IRR | 2.004 Year 0: 96.55%
Debt secured by hardware; expect the lender to require a sponsor guarantee. Leverage is what produces the equity returns above — and it is why a shortfall in the reserved rate bites harder here than in an all-equity structure. Debt service is fixed; revenue is not.